## Sheet1
Product link | Name | Image | Features
https://polycab.com/products/switchgear/accl/ | ACCL | https://polycab.com/wp-content/uploads/2020/11/Mask-Group-1.png | ['SAFE:', 'IP20 Protection and environment-friendly FR body material.', 'TECHNICAL SUPERIORITY:', 'Unique Contractor based technology. Break before make changeover contacts with higher air gap.', 'CONVENIENT:', 'Auto Reset Facility', 'RELIABLE:', 'Conditional short circuit current capacity 5kA', 'ALERT:', 'Alert on overload at Generator side by LED and BEEP.', 'LOW POWER CONSUMPTION:', 'Power consumed is less then 0.2VA during Mains supply & 15VA during generator operation', 'LONG LIFE:', '25,000 Electrical Operations', 'HEAVY DUTY:', 'Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6)', 'COMPACT:', 'Can be fitted with Polycab MCB range on DIN Rail']