## Sheet1
Link | Title | SKU | Image | Features | Specifications | Applications | Cat No. | Power (W) ± 5% | Rated Voltage (V) | Mains Current (Amp) | Approx. Weight (Kg) | Case Lot (Nos) | Cat. No.* | System Wattage(W +/-10%) | Mains Current (A) | Case Lot (No’s) | Unit Weight (kg+/-0.1) | Luminaire Lumen OP (Lm) | Luminaire Wattage (W) | Approx. Weight (kg) | Case Lot (in nos) | Mounting Arrangement | Watts (W) ±10% | Input current (Amp) | Approx. Weight (kg) including trunk | Power (w)+/-10% | Approx Weight (Kg | Power (W) ±10% | Input Current (Amp)
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/radial-uno | Radial UNO | LH21 | https://www.wiprolighting.com/media/images/product/image/radial_uno_banner-1587642829.png | ['Low Operational Cost', 'Excellent Heat Dissipation', 'Uniform Illumination', 'Low Maintenance', 'Ingress Protection'] | ['Ultra long service life of 100000 hrs. @ L70B50', 'Robust IP65 Construction', 'Highly efficient, Crisp, Uniform, and Low-glare illumination', 'Ease of installation with factory fitted Eye Bolt', 'Integrated IP67 Potted Driver', 'IS 10322 part 5/Sec 1 1987 comply'] | []
[7 empty] | LH21-122-060-57-XX | 80 | 240 | 0.35 | 2.8 | 1
[7 empty] | LH21-162-060-57-XX | 100 | 240 | 0.44 | 3 | 1
[7 empty] | LH21-192-060-57-XX | 120 | 240 | 0.53 | 3 | 1
[7 empty] | LH21-222-060-57-XX | 140 | 240 | 0.61 | 3.6 | 1
[7 empty] | LH21-262-060-57-XX | 160 | 240 | 0.7 | 3.6 | 1
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/imperia | Imperia | LE23 | https://www.wiprolighting.com/media/images/product/image/ks272931700-1620194851.png | ['Best in class LED to give optimal light output reduces running cost.', 'Uniform illumination glare free lighting. Consistent performance throughout the life.', 'Easy Installation/maintenance and long service life.', 'Suitable for surface and suspended conduit mount. High Durability and non-rusting. Ease of installation', 'Protection against dust, insects, water and small items entry into luminaire for safety.', 'Comply for general purpose lighting.'] | ['High efficacy LEDs', 'Specially designed co-extruded polycarbonate gray color housing and diffuser', 'Polycarbonate high transmissivity co-extruded diffuser', 'Integral product with LED, Driver and accessories prewired in driver compartment.', 'Stainless steel mounting clamp', 'Mounting clamp location movement flexibility along length.', 'IP65', 'IS 10322 part 5/Sec 1 2012 comply'] | ['Manufacturing plant']
[9 empty] | 240 |  |  |  | LE23-491-XXX-57-XX | 40W | 0.17 | 8 | 2.2
[9 empty] | 240 |  |  |  | LE23-491-XXX-40-XX | 40W | 0.17 | 8 | 2.2
[9 empty] | 240 |  |  |  | LE23-251-XXX-57-XX | 20W | 0.09 | 8 | 2.2
[9 empty] | 240 |  |  |  | LE23-251-XXX-40-XX | 20W | 0.09 | 8 | 2.2
[9 empty] | 240 |  |  |  | LE23-251-XXX-57-2F | 20W | 0.09 | 8 | 0.7
[9 empty] | 240 |  |  |  | LE23-251-XXX-40-2F | 20W | 0.09 | 8 | 0.7
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/xpress-linear-highbay | Xpress - Linear Highbay (75W-200W) | LH 15 | https://www.wiprolighting.com/media/images/product/image/xpressbay-led-1561028053.png | ['longer service life', 'excellent thermal management', 'flexible mounting', 'quick maintainence', 'ideal for refurbishment', 'smart lighting solution'] | ['Aluminum extruded housing duly powder coated with dark grey pure polyester powder', 'Highly advanced LEDs mounted on metal clad PCB’s', 'IP65 construction', 'Highly advanced LEDs', 'IP 65 driver with high performance', 'Technically advanced optic lens with high precision light direction', 'Dimming options are available DALI/ANA', 'Designed and manufactured to comply with IS 10322 part 5/Sec 1 1987'] | ['Airport', 'Warehouse', 'Manufacturing plant', 'Conveyor Belt', 'Car parking']
[9 empty] | 240 |  |  |  | LH15-102-060-57-XX |  | 0.32 |  |  | 9375 | 75 | 3 | 2
[9 empty] | 240 |  |  |  | LH15-142-060-57-XX |  | 0.43 |  |  | 12500 | 100 | 4 | 2
[9 empty] | 240 |  |  |  | LH15-182-060-57-XX |  | 0.57 |  |  | 16250 | 130 | 5 | 2
[9 empty] | 240 |  |  |  | LH15-282-060-57-XX |  | 0.87 |  |  | 25000 | 200 | 7 | 1
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/radial-square | Radial square (80W-200W) | LH20 | https://www.wiprolighting.com/media/images/product/image/radial-square-1559124947.png | ['Excellent optical performance', 'High efficiency', 'Optimum value', 'IEase in installation'] | ['Die-cast aluminum housing with powder coated finish', 'Long life, high efficiency lens', 'High purity polycarbonate lenses for superior performance', 'Toughened glass with silicon gaskets for IP66 protection', 'Complete assembly with LED, Driver and accessories pre-wired up to', 'terminal block in connector compartment', 'Integral control gear compartment with connector'] | ['Airport', 'Warehouse', 'Manufacturing plant', 'Car parking']
[9 empty] | 240 |  |  |  | LH20-102-060-57-XX | [7 empty] | 1 | Cradle Mounted | 80 | 0.35
[9 empty] | 240 |  |  |  | LH20-102-090-57-XX | [7 empty] | 1 | Cradle Mounted | 80 | 0.35
[9 empty] | 240 |  |  |  | LH20-122-060-57-XX | [7 empty] | 1 | Cradle Mounted | 100 | 0.43
[9 empty] | 240 |  |  |  | LH20-122-090-57-XX | [7 empty] | 1 | Cradle Mounted | 100 | 0.43
[9 empty] | 240 |  |  |  | LH20-132-060-57-XX | [7 empty] | 1 | Cradle Mounted | 120 | 0.52
[9 empty] | 240 |  |  |  | LH20-132-090-57-XX | [7 empty] | 1 | Cradle Mounted | 120 | 0.52
[9 empty] | 240 |  |  |  | LH20-172-060-57-XX | [7 empty] | 1 | Cradle Mounted | 140 | 0.61
[9 empty] | 240 |  |  |  | LH20-172-090-57-XX | [7 empty] | 1 | Cradle Mounted | 140 | 0.61
[9 empty] | 240 |  |  |  | LH20-192-060-57-XX | [7 empty] | 1 | Cradle Mounted | 150 | 0.65
[9 empty] | 240 |  |  |  | LH20-192-090-57-XX | [7 empty] | 1 | Cradle Mounted | 150 | 0.65
[9 empty] | 240 |  |  |  | LH20-202-060-57-XX | [7 empty] | 1 | Cradle Mounted | 165 | 0.72
[9 empty] | 240 |  |  |  | LH20-202-090-57-XX | [7 empty] | 1 | Cradle Mounted | 165 | 0.72
[9 empty] | 240 |  |  |  | LH20-212-060-57-XX | [7 empty] | 1 | Cradle Mounted | 180 | 0.78
[9 empty] | 240 |  |  |  | LH20-212-060-57-XX | [7 empty] | 1 | Cradle Mounted | 180 | 0.78
[9 empty] | 240 |  |  |  | LH20-272-060-57-XX | [7 empty] | 1 | Cradle Mounted | 200 | 0.87
[9 empty] | 240 |  |  |  | LH20-272-090-57-XX | [7 empty] | 1 | Cradle Mounted | 200 | 0.87
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/xline-pro-led | Xline Pro LED (39W) | LE 14 | https://www.wiprolighting.com/media/images/product/image/xlineled-pro-1539585541.png | ['Uniform\r\nillumination', 'IP54 for\r\nlong service life', 'Energy\r\nsavings', 'Reduced\r\noperational cost'] | ['High efficacy LEDs', 'Specially design extruded aluminium product and trunk', 'Polycarbonate high transmitivity extruded diffuser', 'Integral product with LED, driver and accessories pre-wired in driver compartment', 'Snap on product fitted with trunking', 'End to end connectivity', 'IS 10322 part 5/Sec 1 1987 comply'] | ['Industries', 'Metro Stations', 'Concourse Area']
[9 empty] | 240 |  |  |  | LE14-491-XXX-57-XX |  | 0.17 |  |  | 4000 | 39 |  | 6 |  |  |  | 4
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/xline-led | Xline LED | LE 10 | https://www.wiprolighting.com/media/images/product/image/xline-1561028019.png |  | ['Industrial channel with high luminous efficacy LEDS and energy efficient driver', 'Ultra slim, lightweight design with highly effective extruded Polycarbonate diffuser for maximum effective illumination', 'Dynamically stylized injection molded plastic end caps'] | ['Airport', 'Railway Stations', 'Warehouse', 'Car parking']
[9 empty] | 240 |  |  |  | LE10-491XXX-57HCSL |  | 0.17 |  |  | 4137 | 39 | 1.6 | 9
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/xline-neo | Xline Neo (39W) | LE10 | https://www.wiprolighting.com/media/images/product/image/xline-neo-1559125118.png | ['LED channel suitable for modern high-tech industrial environment. Dynamic, ultra slim, lightweight and screw less exterior design.', 'Energy efficient Industrial channel with high luminous efficacy LEDS. Multiple suspension / mounting options.', 'Easily accessible driver compartment.', 'User friendly, easy installation and maintenance.'] | ['Industrial channel with high luminous efficacy LEDS and energy efficient driver.', 'Ultra slim, lightweight design with highly effective extruded Polycarbonate diffuser for maximum effective illumination.', 'Dynamically stylized injection molded plastic end caps.'] | ['Airport', 'Railway Stations', 'Warehouse', 'Car parking']
[9 empty] | 240 |  |  |  | LE10-491-XXX-57-XX |  | 0.17 | [5 empty] | 9 |  |  |  |  | 39 | 1.4
https://www.wiprolighting.com/products/indoor/high-bay-mid-bay-luminaires/dura-wellglass | Dura wellglass (35W-70W) | LE07 | https://www.wiprolighting.com/media/images/product/image/dura-wellglass-1559124304.png | ['Rugged Construction', 'Uniform Transmission', 'Durability', 'Performance', 'IP66'] | ['Pressure die cast aluminium construction with powder coated finish ensures the long lasting quality of product', 'Efficient LED with high power helps in saving energy', 'Thermal isolated driver with heat resistant gasket and optical compartment enhances the life of the luminaire', 'Injection molded translucent white impact resistant polycarbonate diffuser for uniform illumination in task area', 'Accessories pre-wired up to terminal block'] | ['Cement', 'Metals and Minerals', 'Refurbishment', 'Power']
[9 empty] | 240 |  |  |  | LE07-501-XXX-50-XX | [7 empty] | 4 | [6 empty] | 35 | 0.3
[9 empty] | 240 |  |  |  | LE07-112-XXX-57-XX | [7 empty] | 4 | [6 empty] | 70 | 0.3