## Sheet1
Link | Title | Description | Features | Image | Gallon Capacity | First hour Rating Gallon | Dimension | Recoury 90* Rise Gallon per Hour | Approx. Shippinh Weight (lbs) | BYU Input Propane Gas | BTU Input Natural Gas | Volume [L] | Power [kW] | Voltage/Frequency [V/Hz] | Dimension in mm | Rated water pressure [Bar] | Net Weight (kgs) | Tank Capacity [L] | Dimension (mm) | Operation Mode | Control Mode | Net weight [kg] | Voltage Range | Rated Input Power/Rated Current [W/A] | Tank Rated Pressure (BAR) | Weight of external unit (kg) | test | HEATING CAPACITY [W] | Product Dimensions (Hx D x W) | Net Weight | Flow rate* | Storage tank capacity | Purification technology | Input Voltage | Power rating | Pressure Rating*
https://www.aosmithindia.com/product/commercial/natural-gas-fired/g62-75t75-4nov/ | G62-75T75 | The Gas Water Heaters are made in the USA and are loaded with features right from providing superior tank protection via Blue Diamond Glass lining to the Patented Burner design to reduce Nox emissions. The Capacities available are from 30 Gallons to 50 Gallons. | ['BLUE DIAMOND® GLASS LINING', 'HIGHEST RECOVERIES ', 'FULLY AUTOMATIC CONTROLS WITH SAFETY SHUTOFF', 'Patented eco-friendly burner design', 'PUSH-BUTTON PIEZO IGNITOR', 'ENHANCED-FLOW BRASS DRAIN VALVE'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/high-recovery-75-100-gallon.png | 74 | - | Height [A]-61 inches Length [B]-26.5 inches | 81 | 275 | - | 75,100
https://www.aosmithindia.com/product/commercial/natural-gas-fired/g62-50t50/ | G62-50T50* | The Gas Water Heaters are made in the USA and are loaded with features right from providing superior tank protection via Blue Diamond Glass lining to the Patented Burner design to reduce Nox emissions. The Capacities available are from 30 Gallons to 50 Gallons. | ['BLUE DIAMOND® GLASS LINING', 'Anode rods', 'Eco-friendly non-CFC foam insulation', 'Patented eco-friendly burner design', 'PUSH-BUTTON PIEZO IGNITOR', 'ENHANCED-FLOW BRASS DRAIN VALVE', 'INTELLIGENT CONTROL LOGIC'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/high-recovery-75-100-gallon.png | 50 | 82 | 60.75-inches 22-inches | 54 | 165 | 45,000 | 50,000
https://www.aosmithindia.com/product/commercial/natural-gas-fired/g62-40t40/ | G62-40T40 | The Gas Water Heaters are made in the USA and are loaded with features right from providing superior tank protection via Blue Diamond Glass lining to the Patented Burner design to reduce Nox emissions. The Capacities available are from 30 Gallons to 50 Gallons. | ['BLUE DIAMOND® GLASS LINING', 'Anode rods', 'Eco-friendly non-CFC foam insulation, external heat traps and specially designed combustion chamber combine to produce a high Energy Factor for maximum savings on operating costs', 'Patented eco-friendly burner design reduces NOx emissions by up to 33% and complies with Low-NOx emission requirements of less than 40 ng/J.', 'PUSH-BUTTON PIEZO IGNITOR', 'ENHANCED-FLOW BRASS DRAIN VALVE', 'INTELLIGENT CONTROL LOGIC'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/high-recovery-75-100-gallon.png | 40 | 56 | Height [A]-62 inches Length [B]-11.25 inches | 42 | 132 | 36,000 | 40,000
https://www.aosmithindia.com/product/commercial/natural-gas-fired/g62-30t30/ | G62-30T30 | The Gas Water Heaters are made in the USA and are loaded with features right from providing superior tank protection via Blue Diamond Glass lining to the Patented Burner design to reduce Nox emissions. The Capacities available are from 30 Gallons to 50 Gallons. | ['BLUE DIAMOND® GLASS LINING', 'Anode rods', 'Eco-friendly non-CFC foam insulation', 'Patented eco-friendly burner design', 'PUSH-BUTTON PIEZO IGNITOR', 'ENHANCED-FLOW BRASS DRAIN VALVE', 'INTELLIGENT CONTROL LOGIC'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/high-recovery-75-100-gallon.png | 30 | 55 | Height [A]-60 Inches Length [B]-11.25 inches | 31 | 108 | 29,000 | 30,000
https://www.aosmithindia.com/product/commercial/electric-water-heaters/ees-120/ | EES 120 | The beautifully designed Electrical Water Heater series are available from 120L to 455L Capacities. These Water Heaters have an assemblage of features which ensure longer tank life and safe operation. | ['BLUE DIAMOND® GLASS LINING', 'GLASS COATED HEATING ELEMENT', 'TEMPERATURE CONTROL KNOB', 'THERMAL CUTOUT', 'SAFETY VALVE', 'INSULATION FOAM', 'STRESS TEST'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/EES-1.png | [7 empty] | 445 | 6 | 230~/50 | 530 mm 940 mm | 8 | 43
https://www.aosmithindia.com/product/commercial/electric-water-heaters/ees-80/ | EES 80 | The beautifully designed Electrical Water Heater series are available from 120L to 455L Capacities. These Water Heaters have an assemblage of features which ensure longer tank life and safe operation. | ['BLUE DIAMOND® GLASS LINING', 'GLASS COATED HEATING ELEMENT', 'TEMPERATURE CONTROL KNOB', 'THERMAL CUTOUT', 'SAFETY VALVE', 'INSULATION FOAM', 'STRESS TEST'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/EES-1.png | [7 empty] | 300 | 6 | 230~/50 | 530 mm 940 mm | 8 | 43
https://www.aosmithindia.com/product/commercial/electric-water-heaters/ees-50/ | EES 50 | The beautifully designed Electrical Water Heater series are available from 120L to 455L Capacities. These Water Heaters have an assemblage of features which ensure longer tank life and safe operation. | ['BLUE DIAMOND® GLASS LINING', 'GLASS COATED HEATING ELEMENT', 'TEMPERATURE CONTROL KNOB', 'THERMAL CUTOUT', 'SAFETY VALVE', 'INSULATION FOAM', 'STRESS TEST'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/EES-1.png | [7 empty] | 190 | 6 | 230~/50 | 530 mm 940 mm | 8 | 43
https://www.aosmithindia.com/product/commercial/electric-water-heaters/ees-40/ | EES 40 | The beautifully designed Electrical Water Heater series are available from 120L to 455L Capacities. These Water Heaters have an assemblage of features which ensure longer tank life and safe operation. | ['BLUE DIAMOND® GLASS LINING', 'GLASS COATED HEATING ELEMENT', 'TEMPERATURE CONTROL KNOB', 'THERMAL CUTOUT', 'SAFETY VALVE', 'INSULATION FOAM', 'STRESS TEST'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/EES-1.png | [7 empty] | 150 | 6 | 230~/50 | 530 mm 940 mm | 8 | 43
https://www.aosmithindia.com/product/commercial/electric-water-heaters/ees-30/ | EES 30 | The beautifully designed Electrical Water Heater series are available from 120L to 455L Capacities. These Water Heaters have an assemblage of features which ensure longer tank life and safe operation. | ['BLUE DIAMOND® GLASS LINING:', 'GLASS COATED HEATING ELEMENT:', 'TEMPERATURE CONTROL KNOB:', 'THERMAL CUTOUT:', 'SAFETY VALVE', 'INSULATION FOAM', 'STRESS TEST'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/EES-1.png | [7 empty] | 120 | 6 | 230~/50 | 530 mm 940 mm | 8 | 43
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp-120-06/ | CAHP 120-06 | The CAHP series are aesthetically designed to give the user a premium bathing experience. It has a unique heat exchanger design that helps the machine achieve 65 degrees temperature via Heat Pump mode. The electrical heating capacity is 6 kW. At extreme cold conditions, the automatic intelligent defrost function solves problems like freezing of the heat exchanger, frosting and resumes the system to operate efficiently. | ['Unique Heat Exchanger Design', 'Energy saving, fast heating', 'Smart control', 'LCD display', 'R134agreen Refrigerant', 'Integrate design', '300 & 450 Litre storage'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP.png | [13 empty] | 455 | [A]-995 mm [B]-785 mm [C]-1700 mm | Efficiency ,High Demand, Standard | LED Wire Display | 229
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp-80-06/ | CAHP 80-06 | The CAHP series are aesthetically designed to give the user a premium bathing experience. It has a unique heat exchanger design that helps the machine achieve 65 degrees temperature via Heat Pump mode. The electrical heating capacity is 6 kW. At extreme cold conditions, the automatic intelligent defrost function solves problems like freezing of the heat exchanger, frosting and resumes the system to operate efficiently. | ['Unique Heat Exchanger Design', 'Energy saving and fast heating', 'Smart control', 'LCD display', 'R134agreen Refrigerant', 'Integrate design', '300 & 450 Litre storage'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP.png | [13 empty] | 455 | [A]-995 mm [B]-785 mm [C]-1700 mm | Efficiency ,High Demand, Standard | LED Wire Display | 229
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp-3hp/ | CAHP 3HP | The Dual Fan CAHP series are aesthetically designed to give the user a premium bathing experience. It has a unique heat exchanger design that helps the machine achieve 65 degrees temperature via Heat Pump mode. The electrical heating capacity is 12 kW. At extreme cold conditions, the automatic intelligent defrost function solves problems like freezing of the heat exchanger, frosting and resumes the system to operate efficiently. | ['Unique Heat Exchanger Design', 'Energy saving and fast heating', 'Smart control', 'LCD display', 'R134agreen Refrigerant', 'Integrate design'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP-_-2-Fan.png | [13 empty] | 455 | [A]-995 mm [B]-785 mm [C]-1700 mm | Efficiency ,High Demand, Standard | LED Wire Display | 229
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp3-0-120-6/ | CAHP3.0-120-6 | The Dual Fan CAHP series are aesthetically designed to give the user a premium bathing experience. It has a unique heat exchanger design that helps the machine achieve 65 degrees temperature via Heat Pump mode. The electrical heating capacity is 12 kW. At extreme cold conditions, the automatic intelligent defrost function solves problems like freezing of the heat exchanger, frosting and resumes the system to operate efficiently. | ['Unique Heat Exchanger Design', 'Energy saving and fast heating', 'Smart control', 'LCD display', 'R134agreen Refrigerant', 'Integrated design'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP-_-2-Fan.png | [13 empty] | 455 | [A]-995 mm [B]-785 mm [C]-1700 mm | Efficiency ,High Demand, Standard | LED Wire Display | 229
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp-mc-19/ | CAHP-MC-19 | The MC Series Heat Pump Water Heater is suitable for all large scale applications. Applications requiring significant hot water usage will maximize energy savings with the shortest payback periods. Best of all, Heat Pump Water Heaters are three times more efficient than standard electric water heaters and upto four times more efficient than conventional gas water heaters. | ['Smart control', 'Energy Saving', 'Power Off memory', 'Auxiliary Heater', 'Refrigerant: R410'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP-MC.png | [14 empty] | Length [A]-719 mm Width [B]-761 mm Height[C]-1160 mm |  |  | 170 | 380V +/- 10%
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/cahp-mc-38/ | CAHP-MC-38 | The MC Series Heat Pump Water Heater is suitable for all large scale applications. Applications requiring significant hot water usage will maximize energy savings with the shortest payback periods. Best of all, Heat Pump Water Heaters are three times more efficient than standard electric water heaters and upto four times more efficient than conventional gas water heaters. | ['Smart control', 'Energy Saving', 'Power Off memory', 'Auxiliary Heater', 'Refrigerant: R410'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/CAHP-MC.png | [14 empty] | Length [A]-1020 mm Width [B]-846 mm Height[C]-1840 mm |  |  | 287 | 380V +/- 10%
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpa-120/ | HPA 120 | The HPA series is a Split Type Heat Pump Water Heater which has a dedicated outdoor unit that can be placed on a terrace/balcony/service areas. The COPs of 3.6 & 4.2 is one of the best in the industry. The user enjoys efficient water heating and an array of features which gives him the ultimate bathing experience. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump Water Temperature', 'Two elements backup for quick recovery', 'Time Setting & Remote Control', 'Glass-lined special protective tank', 'Hot Water Amount Display', 'High efficiency Energy Saving Insulation'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPA-New.png | [7 empty] | 450 |  | 230~/50 |  |  |  |  | Height [A]-740 mm Width [B]-350 mm Length [C]-820 mm |  |  | 133 |  | Efficiency mode-1380/6.5 Hybrid Turbo mode-2380/11 | 10 | 55
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpa-80/ | HPA 80 | The HPA series is a Split Type Heat Pump Water Heater which has a dedicated outdoor unit that can be placed on a terrace/balcony/service areas. The COPs of 3.6 & 4.2 is one of the best in the industry. The user enjoys efficient water heating and an array of features which gives him the ultimate bathing experience. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump Water Temperature', 'Two elements backup for quick recovery', 'Time Setting & Remote Control', 'Glass-lined special protective tank', 'Hot Water Amount Display', 'High efficiency Energy Saving Insulation'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPA-New.png | [7 empty] | 300 |  | 230~/50 |  |  |  |  | Height [A]-560 mm Width [B]-320 mm Length [C]-835 mm |  |  | 98 |  | Efficiency mode-1010/4.6 Hybrid Turbo mode-2010/9.1 | 10 | 37 | test
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpi-50/ | HPI 50 | The HPI Series is an integrated Heat Pump Water Heater which can be installed at any service area or balcony of a house. It is loaded with features such as the AES and an interactive remote control which reduces the user’s water heating costs by 75%. MAX function is available for more hot water output, therefore better bathing experience. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump water temperature:', 'Heat Pump Water Temperature', 'Glass-Lined Special Protective Tank', 'Hot water amount display', 'Heat Pump input 460w'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPI-new.png | [7 empty] | 180 |  | 230~/50 |  |  |  |  | 1850 mm |  |  | 92 |  | Efficiency mode-460 / 2.5 Hybrid Turbo mode-2500 / 11.5 | 10
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpi-40/ | HPI 40 | The HPI Series is an integrated Heat Pump Water Heater which can be installed at any service area or balcony of a house. It is loaded with features such as the AES and an interactive remote control which reduces the user’s water heating costs by 75%. MAX function is available for more hot water output, therefore better bathing experience. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump Water Temperature', 'Two elements backup for quick recovery:', 'Glass-lined special protective tank', 'Hot water amount display', 'Heat Pump input 460w'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPI-new.png | [7 empty] | 150 |  | 230~/50 |  |  |  |  | 1660 mm |  |  | 87 |  | Efficiency mode-460 / 2.5 Hybrid Turbo mode-2500 / 11.5 | 10
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpw-80/ | HPW 80 | The HPW Heat pump Water Heater is a state-of-the-art wall-mounted model which absorbs heat from the surroundings and uses it to heat water. As a result, hot water is generated in the most efficient way, with very less energy consumed. The Heat Pump Water heater user enjoys extremely low water heating costs and dehumidified cool air as a byproduct. It is perfect for small size condomoniums and light commercial applications. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump Water Temperature', 'Two elements backup for quick recovery', 'Glass-Lined Special Protective Tank', 'Hot Water Amount Display', 'Time Setting & Remote Control'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPW-A2-scaled-1.png | [7 empty] | 80 | [6 empty] | 992 mm 473 mm |  |  | 45 |  | Efficiency mode-210 / 0.95 Hybrid Turbo mode-2200 / 10 MAX mode-3000 / 13.7 |  |  |  | Efficiency mode-540 Hybrid Turbo mode-2540 MAX mode-3000
https://www.aosmithindia.com/product/commercial/commercial-ro/adr75-v-et-1/ | ADR75-V-ET-1 | TASTE OF PURITY AND HEALTH. Floor Standing Water Purifier Machine. Compact design with outstanding technology integrated with the product that brings comfort and luxury. | ['7-stage purification and double protection of 100% RO+UV', 'INSTANT HOT / COLD', 'The MIN-TECH', 'Water Level Indicator', 'Advance Alert', 'Child-Lock Button'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/IMG_7978-1.png | [24 empty] | 380 mm x 420 mm x 1220 mm | 38 kgs (approx.) | 11.8 litres per hour | 7 litres + 2 litre (Hot) + 2 litres (Cold) | RO (Reverse Osmosis) + UV (UltraViolet Technology) | 150 – 300 VAC, 50 Hz | 630W | 7 psi to 30 psi
https://www.aosmithindia.com/product/commercial/heat-pump-water-heaters/hpw-60/ | HPW 60 | The HPW Heat pump Water Heater is a state-of-the-art wall-mounted model which absorbs heat from the surroundings and uses it to heat water. As a result, hot water is generated in the most efficient way, with very less energy consumed. The Heat Pump Water heater user enjoys extremely low water heating costs and dehumidified cool air as a byproduct. It is perfect for small size condomoniums and light commercial applications. | ['AES (Adaptive Energy-Saving System)', 'Heat Pump Water Temperature', 'Two elements backup for quick recovery', 'Glass-lined special protective tank', 'Hot Water Amount Display', 'Time Setting & Remote Control'] | https://www.aosmithindia.com/wp-content/uploads/2020/10/HPW-A2-scaled-1-1.png | [7 empty] | 60 | [6 empty] | 837 mm 473 mm |  |  | 42 |  | Efficiency mode-210 / 0.95 Hybrid Turbo mode-2200 / 10 MAX mode-3000 / 13.7 |  |  |  | Efficiency mode-540 Hybrid Turbo mode-2540 MAX mode-3000